Site Inspection Report

| Project: | Oskar Court Residential Build (Lot 31, 3 Oskar Court, Pakenham VIC 3810) | Project no: | OC-31-2026 |
| --- | --- | --- | --- |
| Weather conditions: | Fine, light winds, approx. 24C | Date: | 02/03/2026 |
| Visitors to site: | Project Manager and Site Supervisor walkthrough completed |  |  |
| Stage of Construction |  |  |  |
| Underground Power Install |  |  |  |

| No. of workers on site |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5 |  |  |  |  |  |
| Subcontractors Tick the contractors who were on site for the week |  |  |  |  |  |
| Demolition |  | Plumber |  | Plasterer, fibro |  |
| Excavator | X | Roofer, metal |  | Tiler, vitreous |  |
| Reinforcing fixer |  | Roofer, a/cement |  | Tiler, vinyl |  |
| Concreter |  | Electrician | X | Painter |  |
| Drainer | X | Mechanical |  | Cleaner, brick |  |
| Structural steel |  | Glazier |  | Cleaner |  |
| Bricklayer |  | Plasterer, hand |  |  |  |
| Carpenter |  | Sprinklers |  |  |  |
| Formworker |  | Susp. Ceilings |  |  |  |
| Other trades: |  |  |  |  |  |

Site report (progress/delays)

Underground power trench alignment and excavation were completed in accordance with set-out. Electrician installed conduits and pits, and drainer assisted with trench depth and separation checks against existing services. No significant delays were identified; minor coordination required around trench crossing points and was resolved on site. Safety controls in place with barricading and spotter supervision; stage progressing to stormwater connection.